## CIE 170-1 2006 CMFs
Computation of Cone Fundamentals (Color Matching Functions) in Terms of Energy for Various Field Sizes and Ages Based on CIE 170-1:2006
Spreadsheet Prepared By Mark Fairchild (mdf@cis.rit.edu), RIT Munsell Color Science Laboratory (mcsl.rit.edu)
The results have not been independently verified … use at your own risk. Please email any corrections to Mark.
Results for 390 & 395 nm should be used with caution. No ocular media data were published at those wvelengths, so those values were linearly extrapolated.
Refer to CIE Publication 170-1:2006 for a detailed explanation of the procedures and source data.
Last Revision: 02/06/2007
Enter Desired Age (20-80): | 32
Enter Desired Field Size (1-10): | 2
COMPUTATION STEPS ARE ALL OVER HERE:
Computed Cone Fundamentals (CMFs) |  |  |  | Macular Density (No Correction for Age) |  | Lens/Ocular Media (No Corrrection for Field Size) |  |  | Low-Optical Density Spectral Absorptances |  |  | Corrected for Field Size |  |  | Corrected to Corneal Incidence |  |  | Corrected to Energy Terms
(In Energy Terms and Normalized) | [5 empty] | (390 & 395nm Values Linearly Extrapolated from 400 & 405nm) | [5 empty] | (No Age Correction) |  |  | (in Terms of Quanta) |  |  | (Normalized are in Comuns B,C,D)
Wavelength (nm) | l-bar | m-bar | s-bar | Relative Macular Density | Field-Size Corrected Macular Density | Docul1 | Docul2 | Age Corrected Lens?Ocular Media Density | A(L) | A(M) | A(S) | alpha-L | alpha-M | alpha-S | l-bar(q) | m-bar(q) | s-bar(q) | l-bar | m-bar | s-bar
390 | 0.00048654 | 0.00043303 | 0.011285 | 0.1295 | 0.045328 | 0.8096 | 1.6337 | 2.4433 | -0.93379 | -1.0479 | -0.13385 | 0.12559 | 0.098052 | 0.49205 | 0.0004077 | 0.00031829 | 0.0015973 | 0.159 | 0.12413 | 0.62294
395 | 0.0011185 | 0.0010221 | 0.025541 | 0.1854 | 0.064894 | 0.73572 | 1.3684 | 2.1041 | -0.89477 | -0.99737 | -0.09075 | 0.13656 | 0.10946 | 0.52671 | 0.00092537 | 0.00074178 | 0.0035693 | 0.36552 | 0.293 | 1.4099
400 | 0.0024092 | 0.0022769 | 0.057134 | 0.248 | 0.086805 | 0.66184 | 1.1031 | 1.7649 | -0.88346 | -0.97071 | -0.0499 | 0.13989 | 0.11598 | 0.56037 | 0.0019683 | 0.0016318 | 0.0078844 | 0.78732 | 0.65272 | 3.1538
405 | 0.004835 | 0.0047146 | 0.12349 | 0.32 | 0.11201 | 0.58796 | 0.83774 | 1.4257 | -0.90163 | -0.97422 | -0.02576 | 0.13457 | 0.1151 | 0.58054 | 0.0039015 | 0.0033371 | 0.016832 | 1.5801 | 1.3515 | 6.8168
410 | 0.0087241 | 0.0088208 | 0.23499 | 0.39 | 0.13651 | 0.53071 | 0.60667 | 1.1374 | -0.91541 | -0.97112 | -0.00926 | 0.13065 | 0.11587 | 0.59442 | 0.0069539 | 0.0061673 | 0.031638 | 2.8511 | 2.5286 | 12.9715
415 | 0.013388 | 0.014572 | 0.38461 | 0.466 | 0.16311 | 0.46804 | 0.43826 | 0.9063 | -0.94085 | -0.9623 | -0.00238 | 0.1237 | 0.1181 | 0.60022 | 0.010543 | 0.010066 | 0.051157 | 4.3753 | 4.1774 | 21.2301
420 | 0.018454 | 0.021732 | 0.54824 | 0.566 | 0.19811 | 0.42767 | 0.29631 | 0.72398 | -0.95489 | -0.93984 | -3e-05 | 0.12001 | 0.12397 | 0.60221 | 0.014359 | 0.014833 | 0.072053 | 6.0308 | 6.2297 | 30.2624
425 | 0.022939 | 0.029662 | 0.68021 | 0.67 | 0.23451 | 0.39358 | 0.20214 | 0.59572 | -0.95756 | -0.89896 | -0.00547 | 0.11932 | 0.13534 | 0.59762 | 0.017639 | 0.020007 | 0.088346 | 7.4967 | 8.503 | 37.5472
430 | 0.028197 | 0.039577 | 0.80938 | 0.748 | 0.26182 | 0.37287 | 0.11473 | 0.4876 | -0.95359 | -0.85645 | -0.02225 | 0.12035 | 0.14817 | 0.58349 | 0.02143 | 0.026384 | 0.1039 | 9.2149 | 11.3453 | 44.6773
435 | 0.034116 | 0.051978 | 0.91127 | 0.792 | 0.27722 | 0.33681 | 0.071286 | 0.4081 | -0.93902 | -0.80274 | -0.05 | 0.12419 | 0.16597 | 0.56029 | 0.025631 | 0.034253 | 0.11564 | 11.1493 | 14.9002 | 50.3019
440 | 0.040269 | 0.064975 | 0.99948 | 0.824 | 0.28842 | 0.31003 | 0.031288 | 0.34132 | -0.92675 | -0.76267 | -0.08115 | 0.12751 | 0.18047 | 0.53456 | 0.029909 | 0.042332 | 0.12539 | 13.16 | 18.6259 | 55.1709
445 | 0.044951 | 0.076111 | 1 | 0.88 | 0.30802 | 0.28271 | 0.017272 | 0.29998 | -0.90407 | -0.71587 | -0.12009 | 0.13387 | 0.19882 | 0.50301 | 0.033012 | 0.04903 | 0.12404 | 14.6903 | 21.8182 | 55.1996
450 | 0.049879 | 0.087314 | 0.9636 | 0.952 | 0.33322 | 0.2585 | 0.004381 | 0.26288 | -0.87342 | -0.66754 | -0.1667 | 0.14292 | 0.21945 | 0.46636 | 0.036224 | 0.055621 | 0.1182 | 16.3007 | 25.0297 | 53.1901
455 | 0.055358 | 0.098487 | 0.86766 | 0.996 | 0.34862 | 0.24165 | 0.00215 | 0.2438 | -0.8335 | -0.61743 | -0.23983 | 0.15555 | 0.24275 | 0.41181 | 0.039761 | 0.06205 | 0.10526 | 18.0912 | 28.2326 | 47.8943
460 | 0.064735 | 0.11662 | 0.7935 | 1 | 0.35002 | 0.2279 | 0 | 0.2279 | -0.78013 | -0.55431 | -0.31463 | 0.17402 | 0.27498 | 0.36029 | 0.045991 | 0.072675 | 0.09522 | 21.1557 | 33.4305 | 43.801
465 | 0.080711 | 0.14497 | 0.74468 | 0.934 | 0.32692 | 0.21306 | 0 | 0.21306 | -0.72114 | -0.49235 | -0.40119 | 0.19667 | 0.30987 | 0.3065 | 0.056724 | 0.089371 | 0.0884 | 26.3767 | 41.5574 | 41.1061
470 | 0.099501 | 0.17641 | 0.65199 | 0.856 | 0.29962 | 0.20458 | 0 | 0.20458 | -0.66428 | -0.43737 | -0.51694 | 0.22091 | 0.34356 | 0.2445 | 0.069186 | 0.1076 | 0.076574 | 32.5172 | 50.571 | 35.9897
475 | 0.11883 | 0.206 | 0.52094 | 0.812 | 0.28422 | 0.19292 | 0 | 0.19292 | -0.61223 | -0.39247 | -0.66272 | 0.24528 | 0.37298 | 0.18162 | 0.081758 | 0.12432 | 0.060538 | 38.835 | 59.0523 | 28.7554
480 | 0.14018 | 0.23644 | 0.39376 | 0.796 | 0.27862 | 0.18338 | 0 | 0.18338 | -0.55146 | -0.34047 | -0.81657 | 0.27652 | 0.40912 | 0.1312 | 0.095439 | 0.14121 | 0.045283 | 45.8106 | 67.779 | 21.7356
485 | 0.16399 | 0.26884 | 0.29288 | 0.792 | 0.27722 | 0.1749 | 0 | 0.1749 | -0.48714 | -0.28496 | -0.96832 | 0.31295 | 0.45002 | 0.094407 | 0.1105 | 0.1589 | 0.033334 | 53.5919 | 77.0654 | 16.167
490 | 0.19159 | 0.3045 | 0.21374 | 0.768 | 0.26882 | 0.16748 | 0 | 0.16748 | -0.42894 | -0.23781 | -1.1321 | 0.34895 | 0.48647 | 0.065753 | 0.12778 | 0.17814 | 0.024078 | 62.6133 | 87.2879 | 11.7981
495 | 0.23296 | 0.35807 | 0.16194 | 0.71 | 0.24851 | 0.16006 | 0 | 0.16006 | -0.36178 | -0.18206 | -1.2892 | 0.39404 | 0.53127 | 0.046267 | 0.1538 | 0.20737 | 0.018059 | 76.1334 | 102.6467 | 8.9393
500 | 0.289 | 0.42897 | 0.12393 | 0.598 | 0.20931 | 0.1537 | 0 | 0.1537 | -0.30399 | -0.13844 | -1.4586 | 0.43574 | 0.56733 | 0.03156 | 0.18889 | 0.24594 | 0.013681 | 94.447 | 122.9688 | 6.8407
505 | 0.35977 | 0.51703 | 0.089684 | 0.472 | 0.16521 | 0.14628 | 0 | 0.14628 | -0.2499 | -0.09801 | -1.6574 | 0.47698 | 0.60129 | 0.020084 | 0.23282 | 0.29349 | 0.009803 | 117.5727 | 148.2129 | 4.9505
510 | 0.44373 | 0.61723 | 0.06136 | 0.346 | 0.12111 | 0.1378 | 0 | 0.1378 | -0.20069 | -0.06439 | -1.8809 | 0.51612 | 0.62973 | 0.012055 | 0.28434 | 0.34694 | 0.0066413 | 145.014 | 176.9376 | 3.387
515 | 0.53654 | 0.72114 | 0.043192 | 0.232 | 0.081205 | 0.12932 | 0 | 0.12932 | -0.15585 | -0.03834 | -2.087 | 0.55285 | 0.65179 | 0.0075173 | 0.34047 | 0.40141 | 0.0046295 | 175.3439 | 206.7238 | 2.3842
520 | 0.6286 | 0.81885 | 0.029463 | 0.15 | 0.052503 | 0.12296 | 0 | 0.12296 | -0.10935 | -0.00948 | -2.293 | 0.59173 | 0.67614 | 0.0046846 | 0.39506 | 0.45141 | 0.0031276 | 205.4295 | 234.7337 | 1.6263
525 | 0.70475 | 0.88798 | 0.019564 | 0.094 | 0.032902 | 0.1166 | 0 | 0.1166 | -0.07711 | 0 | -2.5013 | 0.61896 | 0.6841 | 0.0029022 | 0.43869 | 0.48486 | 0.002057 | 230.3144 | 254.5509 | 1.0799
530 | 0.77066 | 0.93826 | 0.012713 | 0.05 | 0.017501 | 0.11024 | 0 | 0.11024 | -0.05499 | -0.00367 | -2.7146 | 0.6377 | 0.68102 | 0.0017769 | 0.4752 | 0.50748 | 0.0013241 | 251.8538 | 268.9636 | 0.70177
535 | 0.82574 | 0.97155 | 0.0081668 | 0.0265 | 0.0092755 | 0.10494 | 0 | 0.10494 | -0.0332 | -0.00825 | -2.9246 | 0.65614 | 0.67717 | 0.0010961 | 0.5044 | 0.52057 | 0.00084263 | 269.8562 | 278.5075 | 0.4508
540 | 0.88102 | 0.99798 | 0.0051344 | 0.0131 | 0.0045853 | 0.09858 | 0 | 0.09858 | -0.00946 | -0.01459 | -3.1413 | 0.67615 | 0.67184 | 0.00066557 | 0.53319 | 0.52978 | 0.00052484 | 287.9217 | 286.0838 | 0.28341
545 | 0.9191 | 1 | 0.0031972 | 0.0047 | 0.0016451 | 0.09222 | 0 | 0.09222 | 0 | -0.03704 | -3.3604 | 0.6841 | 0.65289 | 0.00040196 | 0.55113 | 0.52599 | 0.00032383 | 300.3645 | 286.6628 | 0.17649
550 | 0.9402 | 0.97993 | 0.0019764 | 0 | 0 | 0.08586 | 0 | 0.08586 | -0.00396 | -0.07306 | -3.5813 | 0.68077 | 0.62239 | 0.00024172 | 0.55865 | 0.51074 | 0.00019836 | 307.26 | 280.909 | 0.1091
555 | 0.96573 | 0.95927 | 0.0012135 | 0 | 0 | 0.0795 | 0 | 0.0795 | -0.00144 | -0.10546 | -3.8035 | 0.68289 | 0.59501 | 0.00014493 | 0.56866 | 0.49547 | 0.00012069 | 315.6044 | 274.9883 | 0.066982
560 | 0.98144 | 0.92036 | 0.00074676 | 0 | 0 | 0.0742 | 0 | 0.0742 | -0.00553 | -0.14855 | -4.0235 | 0.67946 | 0.55891 | 8.7323e-05 | 0.57275 | 0.47113 | 7.3609e-05 | 320.7375 | 263.8335 | 0.041221
565 | 0.99449 | 0.87571 | 0.00046003 | 0 | 0 | 0.06784 | 0 | 0.06784 | -0.01383 | -0.1966 | -4.2442 | 0.67248 | 0.51943 | 5.2543e-05 | 0.57523 | 0.44431 | 4.4945e-05 | 325.0024 | 251.0346 | 0.025394
570 | 1 | 0.81588 | 0.0002843 | 0 | 0 | 0.06148 | 0 | 0.06148 | -0.028 | -0.25538 | -4.4634 | 0.66053 | 0.47272 | 3.1719e-05 | 0.57334 | 0.41032 | 2.7532e-05 | 326.8039 | 233.8816 | 0.015693
575 | 0.99234 | 0.74247 | 0.00017659 | 0 | 0 | 0.05512 | 0 | 0.05512 | -0.05189 | -0.32506 | -4.6803 | 0.64032 | 0.42024 | 1.9247e-05 | 0.564 | 0.37015 | 1.6953e-05 | 324.2992 | 212.8373 | 0.0097479
580 | 0.96949 | 0.65522 | 0.00011043 | 0 | 0 | 0.04876 | 0 | 0.04876 | -0.08632 | -0.40844 | -4.8943 | 0.61117 | 0.36232 | 1.1758e-05 | 0.54626 | 0.32384 | 1.051e-05 | 316.8319 | 187.8273 | 0.0060956
585 | 0.95567 | 0.57432 | 6.9612e-05 | 0 | 0 | 0.04346 | 0 | 0.04346 | -0.11133 | -0.49035 | -5.1037 | 0.59006 | 0.31105 | 7.2598e-06 | 0.53387 | 0.28143 | 6.5685e-06 | 312.3152 | 164.6349 | 0.0038426
590 | 0.92775 | 0.49409 | 4.4293e-05 | 0 | 0 | 0.03812 | 0 | 0.03812 | -0.146 | -0.5788 | -5.3091 | 0.56103 | 0.26209 | 4.5242e-06 | 0.51389 | 0.24006 | 4.144e-06 | 303.1928 | 141.6371 | 0.0024449
595 | 0.88607 | 0.41251 | 2.8474e-05 | 0 | 0 | 0.03286 | 0 | 0.03286 | -0.18983 | -0.67909 | -5.5099 | 0.52493 | 0.21436 | 2.8492e-06 | 0.48668 | 0.19874 | 2.6416e-06 | 289.5724 | 118.2506 | 0.0015718
600 | 0.8341 | 0.33546 | 1.8509e-05 | 0 | 0 | 0.02968 | 0 | 0.02968 | -0.23784 | -0.78679 | -5.7038 | 0.48644 | 0.17161 | 1.8233e-06 | 0.45431 | 0.16027 | 1.7028e-06 | 272.5862 | 96.1639 | 0.0010217
605 | 0.77524 | 0.2657 | 1.2174e-05 | 0 | 0 | 0.02544 | 0 | 0.02544 | -0.29291 | -0.90539 | -5.8936 | 0.44403 | 0.13349 | 1.1778e-06 | 0.41876 | 0.12589 | 1.1108e-06 | 253.3513 | 76.1652 | 0.00067201
610 | 0.70586 | 0.20591 | 8.1063e-06 | 0 | 0 | 0.02226 | 0 | 0.02226 | -0.35607 | -1.0305 | -6.077 | 0.39805 | 0.10186 | 7.7213e-07 | 0.37816 | 0.096766 | 7.3355e-07 | 230.6774 | 59.0274 | 0.00044746
615 | 0.63091 | 0.15673 | 5.4666e-06 | 0 | 0 | 0.01908 | 0 | 0.01908 | -0.42682 | -1.1617 | -6.2548 | 0.35032 | 0.076337 | 5.1269e-07 | 0.33526 | 0.073056 | 4.9066e-07 | 206.1855 | 44.9291 | 0.00030175
620 | 0.55437 | 0.11701 | 0 | 0 | 0 | 0.01696 | 0 | 0.01696 | -0.50264 | -1.2989 |  | 0.30385 | 0.056254 | 0 | 0.29221 | 0.054099 | 0 | 181.1704 | 33.5415 | 0
625 | 0.48008 | 0.085856 | 0 | 0 | 0 | 0.01484 | 0 | 0.01484 | -0.58334 | -1.4425 |  | 0.25975 | 0.040747 | 0 | 0.25102 | 0.039379 | 0 | 156.8906 | 24.6116 | 0
630 | 0.40083 | 0.062307 | 0 | 0 | 0 | 0.01166 | 0 | 0.01166 | -0.68087 | -1.5909 |  | 0.21359 | 0.029123 | 0 | 0.20793 | 0.028351 | 0 | 130.9944 | 17.8612 | 0
635 | 0.32797 | 0.044628 | 0 | 0 | 0 | 0.00848 | 0 | 0.00848 | -0.78537 | -1.7444 |  | 0.17212 | 0.020544 | 0 | 0.16879 | 0.020147 | 0 | 107.1828 | 12.7931 | 0
640 | 0.26587 | 0.031527 | 0 | 0 | 0 | 0.0053 | 0 | 0.0053 | -0.89178 | -1.9033 |  | 0.13743 | 0.014295 | 0 | 0.13576 | 0.014121 | 0 | 86.8889 | 9.0377 | 0
645 | 0.21336 | 0.021873 | 0 | 0 | 0 | 0.00424 | 0 | 0.00424 | -0.99863 | -2.0675 |  | 0.10916 | 0.0098164 | 0 | 0.1081 | 0.009721 | 0 | 69.7272 | 6.2701 | 0
650 | 0.1652 | 0.015497 | 0 | 0 | 0 | 0.00318 | 0 | 0.00318 | -1.1202 | -2.2222 |  | 0.083669 | 0.0068847 | 0 | 0.083059 | 0.0068344 | 0 | 53.9883 | 4.4424 | 0
655 | 0.1248 | 0.010746 | 0 | 0 | 0 | 0.00106 | 0 | 0.00106 | -1.2523 | -2.3871 |  | 0.062418 | 0.0047144 | 0 | 0.062266 | 0.0047029 | 0 | 40.7843 | 3.0804 | 0
660 | 0.093044 | 0.0073256 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3879 | -2.5582 |  | 0.046071 | 0.0031818 | 0 | 0.046071 | 0.0031818 | 0 | 30.407 | 2.1 | 0
665 | 0.068537 | 0.0049875 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5268 | -2.7287 |  | 0.033682 | 0.00215 | 0 | 0.033682 | 0.00215 | 0 | 22.3983 | 1.4297 | 0
670 | 0.049886 | 0.0034475 | 0 | 0 | 0 | 0 | 0 | 0 | -1.67 | -2.8925 |  | 0.024333 | 0.001475 | 0 | 0.024333 | 0.001475 | 0 | 16.303 | 0.98827 | 0
675 | 0.035838 | 0.0023837 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8184 | -3.056 |  | 0.017351 | 0.0010123 | 0 | 0.017351 | 0.0010123 | 0 | 11.712 | 0.68331 | 0
680 | 0.025389 | 0.0016425 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9725 | -3.221 |  | 0.012202 | 0.00069242 | 0 | 0.012202 | 0.00069242 | 0 | 8.2973 | 0.47085 | 0
685 | 0.017727 | 0.0011248 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1325 | -3.3887 |  | 0.0084574 | 0.00047073 | 0 | 0.0084574 | 0.00047073 | 0 | 5.7933 | 0.32245 | 0
690 | 0.012175 | 0.00076345 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2994 | -3.5602 |  | 0.0057664 | 0.00031718 | 0 | 0.0057664 | 0.00031718 | 0 | 3.9788 | 0.21885 | 0
695 | 0.0084751 | 0.00052712 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4603 | -3.7242 |  | 0.0039852 | 0.00021742 | 0 | 0.0039852 | 0.00021742 | 0 | 2.7697 | 0.15111 | 0
700 | 0.0058999 | 0.00036648 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6209 | -3.8852 |  | 0.0027544 | 0.00015008 | 0 | 0.0027544 | 0.00015008 | 0 | 1.9281 | 0.10506 | 0
705 | 0.004093 | 0.00025422 | 0 | 0 | 0 | 0 | 0 | 0 | -2.783 | -4.0472 |  | 0.0018973 | 0.00010337 | 0 | 0.0018973 | 0.00010337 | 0 | 1.3376 | 0.072875 | 0
710 | 0.0028056 | 0.00017495 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9502 | -4.2125 |  | 0.0012914 | 7.0638e-05 | 0 | 0.0012914 | 7.0638e-05 | 0 | 0.91687 | 0.050153 | 0
715 | 0.0019214 | 0.00012099 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1178 | -4.3758 |  | 0.0008782 | 4.8508e-05 | 0 | 0.0008782 | 4.8508e-05 | 0 | 0.62791 | 0.034683 | 0
720 | 0.0013274 | 8.4438e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2815 | -4.535 |  | 0.00060251 | 3.3618e-05 | 0 | 0.00060251 | 3.3618e-05 | 0 | 0.4338 | 0.024205 | 0
725 | 0.00091815 | 5.9121e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4446 | -4.6928 |  | 0.00041387 | 2.3376e-05 | 0 | 0.00041387 | 2.3376e-05 | 0 | 0.30005 | 0.016948 | 0
730 | 0.00063964 | 4.1737e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6046 | -4.847 |  | 0.00028635 | 1.639e-05 | 0 | 0.00028635 | 1.639e-05 | 0 | 0.20904 | 0.011964 | 0
735 | 0.00044622 | 2.9529e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -3.764 | -5.0002 |  | 0.0001984 | 1.1517e-05 | 0 | 0.0001984 | 1.1517e-05 | 0 | 0.14583 | 0.0084648 | 0
740 | 0.000311 | 2.0952e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9237 | -5.1522 |  | 0.00013734 | 8.1165e-06 | 0 | 0.00013734 | 8.1165e-06 | 0 | 0.10164 | 0.0060062 | 0
745 | 0.00021942 | 1.5093e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0781 | -5.2976 |  | 9.625e-05 | 5.8077e-06 | 0 | 9.625e-05 | 5.8077e-06 | 0 | 0.071706 | 0.0043267 | 0
750 | 0.00015461 | 1.0854e-05 | 0 | 0 | 0 | 0 | 0 | 0 | -4.2331 | -5.4437 |  | 6.737e-05 | 4.1487e-06 | 0 | 6.737e-05 | 4.1487e-06 | 0 | 0.050528 | 0.0031115 | 0
755 | 0.00010955 | 7.8474e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3856 | -5.5874 |  | 4.742e-05 | 2.9796e-06 | 0 | 4.742e-05 | 2.9796e-06 | 0 | 0.035802 | 0.0022496 | 0
760 | 7.8023e-05 | 5.7089e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5359 | -5.7285 |  | 3.355e-05 | 2.1533e-06 | 0 | 3.355e-05 | 2.1533e-06 | 0 | 0.025498 | 0.0016365 | 0
765 | 5.5649e-05 | 4.1531e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6855 | -5.8695 |  | 2.3773e-05 | 1.5563e-06 | 0 | 2.3773e-05 | 1.5563e-06 | 0 | 0.018186 | 0.0011905 | 0
770 | 3.9946e-05 | 3.0364e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8323 | -6.0083 |  | 1.6954e-05 | 1.1304e-06 | 0 | 1.6954e-05 | 1.1304e-06 | 0 | 0.013054 | 0.00087043 | 0
775 | 2.8628e-05 | 2.218e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.9798 | -6.1475 |  | 1.2072e-05 | 8.2041e-07 | 0 | 1.2072e-05 | 8.2041e-07 | 0 | 0.0093558 | 0.00063582 | 0
780 | 2.074e-05 | 1.6395e-06 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1226 | -6.2816 |  | 8.6898e-06 | 6.0255e-07 | 0 | 8.6898e-06 | 6.0255e-07 | 0 | 0.0067781 | 0.00046999 | 0